Assigned Damper # _________ FIRE/SMOKE Circle correct damper. Circle Fire/Smoke if it is a combination damper DAMPER Visual Inspection Date: ___/___/_______ Visual Inspection By:__________________ Functional Test Date: ___/___/_______ Functional Test By:__________________ According to current NFPA Standard(s) 80 and 105 this damper requires functional testing 4 years in commercial buildings or schools. 6 years in hospitals after last functional test date 4 year or 6 year damper Circle proper application Expiration of current inspection and test date : ___/___/_______ Use Avery Weather proof Label #15516 Insert Your Company Name Address And Phone/Fax information here